## Slide 1: Drought Impacts and Preparedness
Karin R. Bencala
Interstate Commission on the Potomac River Basin
September 14, 2010
Drought Operations and Water Supply Planning in the Potomac
Notes: <number>

## Slide 2
Notes: <number>

## Slide 3
Notes: <number>

## Slide 4: Drought Response
GOAL:
  Meet unrestricted demands for CO-OP system customers
  Meet environmental flow-by recommendations
PROCESS:
  Flow triggers for daily and hourly monitoring of flow and demand
  Predict flows based on gauged flow data, stream flow recession predictions, and water supply withdrawals
  Recommend operational changes to utility withdrawals and reservoir releases to meet demands and flow-by recommendations
Notes: <number>

## Slide 5: Flow Prediction Tool
Notes: <number>

## Slide 6: Challenges
Tools/models
  Updating with current operational conditions and procedures
  Data management
  New staff
Communications
  number of jurisdictions, utilities, reservoirs, power plants
  Contact lists
  Drought warnings
  Public and media information requests
  Public acceptance of reservoir releases
Gages
  Essential for predicting flows
  Less reliable at low flows
  Grass effect around gages
  Changing rating curves
Uncertainty
  Travel time of releases
  Weather
  Water loss: evaporation, groundwater loss, unknown upstream pumping
Notes: <number>