Empowering Canadian Geothermal Energy: 5,000 MW by 2015!

February 27, 2009

Western Governors' Association
1600 Broadway, Suite 1700
Denver, CO
80202

Dear Madam or Sir,

CanGEA is pleased to provide information about the Qualified Resource Areas in Western Canada. In note ‘c’ of the QRA map legend, it is said that no data exists for undiscovered geothermal resources in British Columbia nor Alberta. In response, we would like to present our case for the re-evaluation of these geothermal power figures.  The evidence we have collected substantiates an estimate of 3,000-5,000 MW of geothermal potential in Western Canada, which sharply contrasts the QRA estimate of 244 MW.

Further, several studies of British Columbia geothermal resources demonstrate larger geothermal power potential specific to the QRAs of BC_SW and BC_WC.

BC_SW is listed as having 16 MW of discovered potential and an unidentified amount of undiscovered potential. Our evidence suggests that the Meager Creek/Mount Cayley complex located in BC_SW has at least 1300 MW of total potential, which misrepresents the value of the resource by 2 orders of magnitude.

The presented figure for geothermal potential in the BC_WC QRA is 180 MW. The Mount Silverthrone Complex situated in the QRA has had 2000 MW of potential identified based on academic research. Again, an order of magnitude discrepancy is presented.

It is understood that for classification of Canadian resources, the study undertook an approach that is separate from the approach for US resources. However, we would like to point out under the US provision that 500 MW of clustered geothermal power constitutes a QRA, the Mt. Edziza region of Northwest British Columbia may qualify as a QRA.

A map of identified Western Canadian geothermal sites has been provided along with a catalog of hot springs locations in British Columbia. (Higher resolution copies can be provided upon request)

Table 1.0 below presents a summary of our evidence.

Table 1.0 – Summary of Geothermal Power Potential in Western Canada

Main Sources:

- BC Hydro: 2002 Green Energy Study : 16 potential sites. Estimate 1,550 MW from top 6 prospects.

- Globe Foundation: 2007 Endless Energy Project: 32 petajoules (approx.1,000 MW) from geothermal in B.C. by 2025

- CanGEA/Dr. Mory Ghomshei: 3,000-5,000 MW in Western Canada, including Yukon Territory

- Jessop, Alan: Geothermal Energy in Canada, Geoscience Canada, Vol. 25 No 1. 1998

We believe that according to your classification of “discovered” and “undiscovered” geothermal resources, the data we present would be characterized as “undiscovered” resources. As there is no “undiscovered” geothermal potential identified in the QRA documents, we maintain that it is important for the renewable energy stakeholders in your jurisdictions to recognize the full potential of geothermal power in Western North America, including accessible markets in Canada.

If you have any questions on this material, I look forward to discussing them.

Warm Regards,

Alison Thompson, M.Eng, P.Eng, MBA

Chairman & Executive Director

Canadian Geothermal Energy Association