Summary of LBNL/B&V Marching Orders

Results of September 12, 2008 GTMWG Meeting

Basic Model Structure and Function

- Highest priority is to execute strawman proposal, with revisions as discussed, with analysis focused on delivery of individual REZ resources to single load centers.

- Second priority is to allow user to evaluate delivery of multiple resources from multiple REZs on the same transmission line to a single load center.

- Third priority is to allow users to evaluate delivery of multiple resources from multiple REZs to multiple load centers via multi segment transmission lines.

- LBNL/B&V to focus efforts on strawman initially, with consideration for whether the second priority item can be rolled into the strawman, or needs a separate model altogether. If it needs to be addressed in a separate model, then viability and extra complexity of also including third priority item within that model will be assessed.

- LSEs believed that WREZ effort should explore the possibility of shared lines and collaborative opportunities, and that the strawman would inform those deliberations.  However, there appeared to be general agreement among the LSEs that a screening-level excel model was not an appropriate method for directly evaluating the specific merits of multi-segment lines that deliver power to multiple LSEs; instead, most LSEs agreed that more complex models and deliberative processes would be required.

Summary of a Subset of the Modeling Issues that Resulted in Tentative Conclusions

- Allow users to determine the resources, REZs, and load zones to include in any analysis using the tool.

- Consider ability for user to select GWh delivery, not just in MW delivery.

- Enable tool to rank resources in REZs based on adjusted delivered cost and based on delivered cost.

- The relationship of “firming costs” to the market value adjustment factors including capacity value, integration costs, and time of use energy value should be explicitly addressed in the LBNL/B&V market valuation work.

- General agreement to give user option for evaluating local renewable and non-renewable (e.g., CCGT) resources, but also general agreement to not include placeholder values given difficulty in accurately capturing all of the benefits and costs of CCGT vs. renewable resources; allow functionality for user to input own assumptions; focus on delivered cost and, if possible, adjusted delivered cost comparisons.

- At a minimum, allow user to change assumptions for production profile, integration costs, line utilization, etc. to evaluate some of the benefits of storage options. Also, explore with ZITA the possibility of explicitly characterizing the production profile of wind-storage options, in which case those could be included in the LSE model as a “toggle.” In either case, do not include storage cost characterization in the model, but instead allow user to evaluate some of the benefits of storage (though it was noted that such a model would not be able to address the option value of storage). Next step is to explore these issues with ZITA.

- Explore using data from NREL/GE effort to assess complementarity of resources and to populate a look-up table that our tool can then access to estimate transmission utilization for lines that access multiple resources, or multiple REZs.

- Transmission distance to be based on ROW and straight line with X% adder where ROW is not available; subgroup to determine details.

- Ensure that ZITA and GTMWG are coordinated in approach to estimating levelized costs; ZITA to provide assumptions for this estimation, but would welcome collaboration from those interested in GTMWG.

- Use “current” costs for renewable generation technologies; allow user to make own assumptions for technology change over time; ZITA representatives agreed with this approach; some discussion over definition of “current”.

- ZITA to deal with collector systems in estimation of capital costs, but GTMWG should help ZITA segment large renewable resource areas into appropriate REZs that match possible transmission solutions,

Next Steps for LBNL/B&V

- Summarize “marching orders” from September 12, 2008 meeting [this document]

- Complete memo to ZITA on information needs [already complete]

- Continuation of discussion of specific modeling issues: conference call, September 18, 2008, 8:00 am pacific [LBNL to send PPT in advance]

- GTMWG Webinar on basic model structure, and outcomes on subgroup meetings, and to organize other subgroups: October 7, 9:00 am pacific.

- October 15 [be prepared with high-level PPT summary of GMTWG proposed tool design; draft earlier]

- Execute contract for model development [within a couple weeks]

- Continued interaction with ZITA on outstanding issues [ongoing]